## PERSONNEL ENTRY AIR SHOWER

## PARTS LIST

MODEL# ASA-4848-E-PLC

| QTY | UM | ITEM CODE | DESCRIPTION | MFG |
| --- | --- | --- | --- | --- |
| 1 | EA | EBLOO7 | BLOWER HIGH PRESSURE DIRECT DRIVE | DAYTON |
| 1 | EA | EMT009 | MOTOR 3 HP HIGH PRESSURE DIRECT DRIVE | DAYTON |
| 1 | EA | DK-12/DK-12RM | ACTIVE INFARED SENSOR | BEA |
| 1 | EA | ELT024 | FL FIX 2 X 20W T-8 120V 60HZ WITH TUBES | AT |
| 1 | EA | ELT039 | FL TUBE T-8 17W 2FT DP FO14/741/ECO | GE |
| 1 | EA | E22JL2N8 E22B1 | EMERGENCY STOP BUTTON CONTACT BLOCK | CUTLER-HAMMER |
| 2 | EA | DL-24V | DOOR LOCK | RCI |
| 2 | EA | TAP-11B | DOOR SWITCH | TANE ALARM |
| 2 | EA | TAP-10 MAG | DOOR ACTUATOR | TANE ALARM |
| 1 | EA | 9070TF500D1 | TRANSFORMER 500VA 460P/120S | SQD/TELEMECHANIQUE |
| 1 | EA | D-05DR-D | PLC | AUTOMATION DIRECT |
| 1 | EA | N1C162008 | NEMA ENCLOSURE 20 X 16 X 8 3A908 | WIEGMANN |
| 1 | EA | E22H3 | PILOT LIGHT | CUTLER-HAMMER |
| 1 | EA | E22DL24G | LIGHT UNIT | CUTLER-HAMMER |
| 1 | EA | SD2-063-RR | NON-FUSED DISCONNECT SWITCH | ABB |
| 1 | EA | SD-HRY/SD-S200 | DISCONNECT SWITCH HANDLE & SHAFT | AUTOMATION DIRECT |
| 1 | EA | SD2-GP/SD2-NP | DISCONNECT SWITCH GROUND & POLE | AUTOMATION DIRECT |
| 1 | EA | E101B18G3A | IT STARTER | CUTLER-HAMMER |
| 1 | EA | PSS-55B | POWER SUPPLY 24VDC | CUTLER-HAMMER |
| 1 | EA | WMS3C203 | CIRCUIT BREAKER 2P3A | CUTLER-HAMMER |
| 1 | EA | WMS1C05 | CIRCUIT BREAKER 1P5A | CUTLER-HAMMER |
| 1 | EA | WMS2C01 | CIRCUIT BREAKER 2P1A | CUTLER-HAMMER |
| 2 | EA | WMS2C02 | CIRCUIT BREAKER 1P2A | CUTLER-HAMMER |
| 2 | EA | 6A992 | DOOR CLOSURE | DAYTON |
| 1 | EA | 18X24X12FA | HEPA FILTER 18" X 24" X 11-1/2". V-CELL FRAME | CLEANZONES |
| 2 | EA | GRL007 | GRILLE PREFILTER 24" X 15" ANODIZED ALUMINUM GFXF | RELIABLE |
| 2 | EA | FFE053 | PLEATED PREFILTER 15" x 30" x 1" | PUROLATOR |
| 22 | EA | RFP013 | AIR NOZZLE BASE W/ NUT #SP1023 | HAYWARD |
| 22 | EA | RFP014 | AIR NOZZLE 1" EYEBALL #SP1419E | HAYWARD |